**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

Rita Laura Redow Karbalai (CN601121031) operates River Oaks MHP WWTP RN101227478 a domestic wastewater facility. The facility is located 9100 East Mount Houston Road, in Houston, Harris County, Texas 77050.

Renewal to discharge 50,000 gallons per day of treated domestic wastewater.

Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS), ammonia nitrogen (NH3-N), and *Escherichia coli*. Additional potential pollutants are included in the Domestic Technical Report 1.0, Section 7. Pollutant Analysis of Treated Effluent in the permit application package. Domestic wastewater is treated byan activated sludge process plant and the treatment units include a bar screen, aeration basin, clarifier, aerobic digester, and chlorine contact chamber.