**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS INDUSTRIAL WASTEWATER/STORMWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application.*

Southwestern Public Service Company (CN601481336) operates Nichols/Harrington Electric Station RN100224641 a coal-fired and gas-fired electric generating station. The facility is located 8400 North Lakeside Drive, in Amarillo, Potter County, Texas 79108. This application is to amend the existing permit to include pond 22, update application method for S8 from row and furrow to center pivot irrigation, and to update WET testing language per Mike Pfeil, TCEQ WET Coordinator. This amendment does not change the type or locations of permitted outfalls nor does it modify the makeup of the discharge. This permit will not authorize a discharge of pollutants into water in the state.

Discharges from the facility are expected to contain cooling tower blowdown, low volume wastewater, metal cleaning waste, chemical cleaning waste, boiler seal water, and stormwater which can include Nitrate-Nitrite (as N), Boron, Iron, Magnesium, and Manganese generated from cooling tower blowdown.