**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

Sunny Flea Market, Inc. (CN603374133 ) proposes to operate the Sunny Flea Market Wastewater Treatment Facility (RN111493722), an extended aeration activated sludge process plant. The facility will be located at 8705 Airline Drive, in Houston, Harris County, Texas 77037.

This application is for a new application to discharge at a daily average flow of 100,000 gallons per day of treated domestic wastewater.

Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS), ammonia nitrogen (NH3-N), and *Escherichia coli*. Additional potential pollutants are included in the Domestic Technical Report 1.0, Section 7 (Pollutant Analysis of Treated Effluent) in the permit application package.  The domestic wastewater from the Sunny Flea Market will be treated byan activated sludge process plant and the treatment units will include a bar screen, a selector zone, aeration basins, a final clarifier, a sludge digester and a chlorine contact chamber.