**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

The Psalm 25:10 Foundation (CN606049542 ) proposes to operate Prairieview WWTP 1 RN111553269. an activated sludge wastewater facility operating in the extended aeration mode. The facility will be located approximately one-half mile northwest of the intersection of Farm to Market 4 and Farm to Market 2331, in Johnson County, Texas 76044.

This application is for a new application to discharge at a daily average flow of 500,000 gallons per day of treated domestic wastewater.

Discharges from the facility are expected to contain Biochemical Oxygen Demand (BOD), Total Suspended Solids (TSS), and Ammonia Nitrogen (NH3-N).The domestic wastewater will be treated bya bar screen, aeration basins, final clarifiers, sludge digesters, and chlorine contact chambers.