## Plain Language Summary Template and Instructions for Texas Pollutant Discharge Elimination System (TPDES) and Texas Land Application (TLAP) Permit Applications

**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**INDUSTRIAL WASTEWATER/STORMWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

United States Gypsum Company (CN600124218) operates Galena Park Plant (RN100212281), a gypsum product manufacturer. The facility is located at 1201 Mayo Shell Road, in Galena Park, Harris County, Texas 77547.

This application is for a renewal to discharge 480,000 gallons per day treated wastewater via Outfall 001. The discharge route is from the plant site via Outfall 001 directly to the Houston Ship Channel/Buffalo Tidal.

Discharges from the facility are expected to contain Arsenic, Barium, Cadmium, Chromium, Copper, Lead, Mercury, Nickel, Selenium, Silver, and Zinc. Paper Recycling Process Wastewater, Boiler Blowdown, domestic wastewater and vehicle washwater are treated by *onsite lagoon system (Lagoon 1 – 4)* .