**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

Utilities Investment Company, Inc. PO Box 279 New Waverly TX 77358 (CN600633093 ) operates Beau View Wastewater Treatment Facility RN102330065. a subdivision. The facility is located Located on Woodcrest Dr, approximately 2.5 miles west-northwest of the intersection of interstate HWY 45 and Longstreet rd. and approximately 3.8 miles north- northwest of the intersection of river rd and farm to market rd. 830 in Montgomery County, TX 77318, in Willis, Montgomery County, Texas 77318.

This application is for a renewal to discharge at an annual average flow of 49,000 gallons per day of treated domestic wastewater. The discharge plant site to an unnamed ditch.

Discharges from the facility are expected to contain five-day Carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS), ammonia nitrogen (NH3-N), and *Escherichia coli*. Additional potential pollutants are included in the Domestic Technical Report 1.0, Section 7. Pollutant Analysis of Treated Effluent and Domestic Worksheet 4.0 in the permit application package. Domestic wastewater is treated by an activated sludge process plant and the treatment units include a bar screen, aeration basins, final clarifiers, sludge digesters, chlorine contact chambers.