**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

Vidor Mhp No. 1, LLC (CN605435510 ) operates Vidor Mhp No. 1, LLC RN101525749. a Domestic . The facility is located 1205 West Circle Drive, in Vidor, Orange County, Texas 77662.

To authorize the discharge of treated wastewater at a volume not to exceed a daily average flow of 250,000 gallons per day.

Discharges from the facility are expected to contain14. List all expected pollutants here..domestic wastewater will be treated byan activated sludge process plant and the treatment units include a bar screen, a grit chamber, aeration basins, final clarifiers, sludge digesters, a belt filter press, chlorine contact chambers and a dechlorination chamber..