**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

Villas RV Park, LLC. (CN0016184001 ) proposes to operate the Villas RV Park Wastewater Treatment Facility (RN111524625), is a conventional aeration activated sludge process plant. The facility will be located at 2202 Farm-to-Market 1960 East, in Humble, Harris County, Texas 77338.

This application is for a new application to discharge at a daily average flow of 25,000 gallons per day of treated domestic wastewater via Outfall 001.

Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS), ammonia nitrogen (NH3-N), and Escherichia coli. Additional potential pollutants are included in the Domestic Technical Report 1.0, Section 7 (Pollutant Analysis of Treated Effluent) in the permit application package. The domestic wastewater from the Villas RV Park will be treated by an activated sludge process plant and the treatment units will include a bar screen, a selector zone, aeration basins, a final clarifier, a sludge digester and a chlorine contact chamber.