# Public Water System

# NAME:

# ID:

# Boil Water Notification – High Turbidity Levels

BOIL YOUR WATER BEFORE USING

# Acute Turbidity Treatment Technique Violation

We routinely monitor your water for turbidity (cloudiness). This tells us whether we are effectively filtering the drinking water. Because high levels of turbidity were found, there is an increased chance that the water may contain disease-causing organisms.

Specifically, we failed to meet the minimum requirement for [MONTH, YEAR] for [Select one of the following]

- membrane filter effluent turbidity readings above 1.0 NTU.

- multiple barrier failure treatment technique violation (CFE >1.0 NTU and IFE >2.0 NTU).

- combined filter effluent turbidity (CFE) readings above 5.0 NTU.

# Potential Adverse Health Effects

Turbidity has no health effects. However, turbidity can interfere with disinfection and provide a medium for microbial growth. Turbidity may indicate the presence of disease-causing organisms. These organisms include bacteria, viruses, and parasites, which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.

# What Should I Do?

DO NOT DRINK THE WATER WITHOUT BOILING IT FIRST. Bring all water to a boil, let it boil for one minute and let it cool before using, or use bottled water. Boiled or bottled water should be used for drinking, making ice, brushing teeth, washing dishes, and food preparation until further notice. Boiling kills bacteria and other organisms in the water.

# What is Being Done?

We will inform you when we have addressed the cause of the boil water notice tests show no bacteria are present and you no longer need to boil your water.

# For More Information, Please Contact:

PWS Contact Name:

Phone: 	 Email:

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

Date distributed: